Lesson Plan

Discipline:	Electrical Engineering 		Semester: 7th           Subject: Power System Operation and Control

| Week | Lecture | Topic (Including Assignment / Test) : Planned | Actually covered on (date) | Teacher’s Sign | HOD’s Sign | DP’s Sign |
| --- | --- | --- | --- | --- | --- | --- |
| 1st | 1 | AUTOMATIC GENERATION CONTROL: Introduction |  |  |  |  |
|  | 2 | Introduction to AVR |  |  |  |  |
|  | 3 | Introduction ALFC loops |  |  |  |  |
| 2nd | 4 | Modeling of turbine speed governing system |  |  |  |  |
|  | 5 | Generator Load model |  |  |  |  |
|  | 6 | load frequency control of an isolated area |  |  |  |  |
| 3rd | 7 | steady state performance for first order approximate system |  |  |  |  |
|  | 8 | dynamic performance for first order approximate system |  |  |  |  |
|  | 9 | Load frequency Vs economic control |  |  |  |  |
| 4th | 10 | dead band, digital load flow control |  |  |  |  |
|  | 11 | Decentralized control. |  |  |  |  |
|  | 12 | EXCITATION & VOLTAGE CONTROL Introduction |  |  |  |  |
| 5th | 13 | Role of Exciter and its control |  |  |  |  |
|  | 14 | Classification of Excitation System |  |  |  |  |
|  | 15 | Rotating self-excited type Voltage regulators |  |  |  |  |
| 6th | 16 | and pilot excited type Voltage regulators |  |  |  |  |
|  | 17 | static excitation system |  |  |  |  |
|  | 18 | brushless excitation system |  |  |  |  |
| 7th |  | 1stSessionals |  |  |  |  |
| 8th | 19 | boost buck excitation system |  |  |  |  |
|  | 20 | development of block diagram and transfer function |  |  |  |  |
|  | 21 | Role of PID Controller in Excitation system |  |  |  |  |
| 9th | 22 | Voltage control through shunt compensation |  |  |  |  |
|  | 23 | Series compensation |  |  |  |  |
|  | 24 | Tap changing transformer |  |  |  |  |
| 10th | 25 | Booster transformer; induction regulators, |  |  |  |  |
|  | 26 | Definitions: angular stability- steady state stability, dynamic stability, transient stability |  |  |  |  |
|  | 27 | Dynamics of synchronous machine and swing equation, |  |  |  |  |
| 11th | 28 | equal area criteria for various types of disturbances |  |  |  |  |
|  | 29 | critical clearing angle, solution of swing equation, |  |  |  |  |
|  | 30 | Technique of improving transient stability |  |  |  |  |
| 12th | 31 | voltage stability concept for pure inductive load |  |  |  |  |
|  | 32 | Voltage collapse, voltage collapse proximate indicator. |  |  |  |  |
|  | 33 | Generators operation cost, Long range and short range problem, |  |  |  |  |
| 13th | 34 | Economic dispatch problem |  |  |  |  |
|  | 35 | Economic Dispatch including transmission loss |  |  |  |  |
|  | 36 | derivation of transmission loss formula |  |  |  |  |
| 14th |  | 2ndSessionals |  |  |  |  |
| 15th | 37 | Classification of hydro plants |  |  |  |  |
|  | 38 | Short range fixed head hydrothermal scheduling. |  |  |  |  |
|  | 39 | Revision |  |  |  |  |