Lesson Plan

Name of faculty	:	Er. Hanuman

Discipline		:	Electrical Engineering

Semester		:	3rd

Subject			:	Electrical Workshop Lab (EE-209-P)

Lesson plan duration	:	15 weeks

| Week | Experiment Planned | Actually performed on (date) |
| --- | --- | --- |
| 1st | Introduction of tools, electrical materials, symbols & abbreviations |  |
| 2nd | To study stair case wiring. |  |
| 3rd | To study house wiring i.e. batten, cleat, casing-capping, & conduit wirings |  |
| 4th | To study Fluorescent tube light. |  |
| 5th | To study high pressure mercury vapour lamp. |  |
| 6th | 1st Internal Viva |  |
| 7th | 1st Sessionals |  |
| 8th | To study sodium lamp. |  |
| 9th | To study repairing of home appliances such as heater, electric iron, fans. |  |
| 10th | To study construction of moving iron, moving coil, electrodynamics & induction type meters. |  |
| 11th | To study fuses, relays, contactors, MCBs, and circuit breakers. |  |
| 12th | Insulation testing of electrical equipments |  |
| 13th | 2nd Internal Viva |  |
| 14th | 2nd Sessionals |  |
| 15th | Revision |  |