Lesson Plan

Name of faculty	:	Er. Ruby Sathiala

Discipline		:	Electrical Engineering

Semester		:	3rd

Subject			:	Electrical Machines-I Lab (EE-205-P)

Lesson plan duration	:	15 weeks

| Week | Experiment Planned | Actually performed on (date) |
| --- | --- | --- |
| 1st | To find turn ratio & polarity of a 1-phase transformer. |  |
| 2nd | To perform open & short circuit test on a 1-phase transformer. |  |
| 3rd | To perform Sumpner’s back to back test on 1-phase transformers. |  |
| 4th | Parallel operation of two 1-phase transformers. |  |
| 5th | To convert 3-phase to 2-phase by Scott connection. |  |
| 6th | 1st Internal Viva |  |
| 7th | 1st Sessionals |  |
| 8th | To perform load test on a DC shunt generator. |  |
| 9th | Speed control of a DC shunt motor. |  |
| 10th | Swinburne’s test of DC shunt motor. |  |
| 11th | Hopkinson’s test of DC shunt machines. |  |
| 12th | Ward Leonard method of speed control. |  |
| 13th | 2nd Internal Viva |  |
| 14th | 2nd Sessionals |  |
| 15th | Revision |  |