Lesson Plan

Name of faculty	 :           Sita Devi

Discipline		 :	Electrical Engineering

Semester		 :           5th

Subject		:	 Electronic Measurement & Instruments

Lesson plan duration:	 15 weeks

| Theory |  |  |  |
| --- | --- | --- | --- |
| Week | Lecture | Topic (Including Assignment / Test) : Planned | Actually covered on (date) |
| 1st | 1 | Introduction to CRO |  |
|  | 2 | Introduction to cathode Ray Tube (CRT) |  |
|  | 3 | Electron Gun |  |
|  | 4 | Electrostatic focussing |  |
| 2nd | 5 | Electrostatic Deflection, it's limitations & Applications |  |
|  | 6 | Sampling & Storage CRO |  |
|  | 7 | Introduction to digital CRO |  |
|  | 8 | Introduction to amplifier measurements |  |
| 3rd | 9 | Measurement of noise figure of amplifier |  |
|  | 10 | Measurement of op-amp parameters |  |
|  | 11 | Instruments for measurement of voltage |  |
|  | 12 | Instruments for measurement of current & other parameters |  |
| 4th | 13 | R. F. Power measurements |  |
|  | 14 | Introduction to digital meters |  |
|  | 15 | Introduction to digital indicating instruments |  |
|  | 16 | Comparison with analog type digital display methods |  |
| 5th | 17 | Theory and application of digital voltmeters |  |
|  | 18 | Introduction to electronic galvanometers |  |
|  | 19 | Introduction to Q-meter |  |
|  | 20 | Study of decade counting assembly (DCA) |  |
| 6th | 21 | Measurements of frequency using cavity wave meter |  |
|  | 22 | Introduction to Heterodyne frequency meter |  |
|  | 23 | Introduction to digital frequency meter |  |
|  | 24 | Instruments for measurement of power |  |
| 7th |  | 1st Sessionals |  |
| 8th | 25 | Discussion on 1st sessional |  |
|  | 26 | Instrument for measurement of energy |  |
|  | 27 | Comparison of digital instruments with analog type instruments |  |
|  | 28 | Introduction to digital display method |  |
| 9th | 29 | Introduction to transducer |  |
|  | 30 | Classification of transducer |  |
|  | 31 | Introduction to photocell |  |
|  | 32 | Introduction to thermocouple |  |
| 10th | 33 | Scheme of measurement of displacement |  |
|  | 34 | Measurement of velocity |  |
|  | 35 | Measurement of acceleration |  |
|  | 36 | Measurement of strain |  |
| 11th | 37 | Measurement of pressure |  |
|  | 38 | Measurement of temperature |  |
|  | 39 | Measurement of liquid level |  |
|  | 40 | Introduction to signal conditioning |  |
| 12th | 41 | Introduction to acquisition system |  |
|  | 42 | DC & AC signal conditioning |  |
|  | 43 | Introduction to analog to digital converter |  |
|  | 44 | Introduction to digital to analog converter |  |
| 13th | 45 | Use of op-amp in signal conditioning |  |
|  | 46 | Basic component of analog and digital data acquisition system |  |
|  | 47 | Introduction to square wave and pulse generators |  |
|  | 48 | Introduction to function generator |  |
| 14th |  | 2nd Sessionals |  |
| 15th | 49 | Introduction to random noise generator |  |
|  | 50 | Introduction for frequency synthesizer |  |
|  | 51 | Introduction to nixie tube, LED |  |
|  | 52 | Introduction to display device LCD, discharge device |  |