Lesson Plan

Name of faculty		:	Er. Ruby Sathiala

Discipline		:	Electrical Engineering

Semester		:	4th

Subject			:	Electrical Machines-II (EE-210-L)

| Week | Theory |  | Date of Actual covered | Signatures |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Lecture Day | Topic (Including assignment / Test) |  | Concerned teacher | HOD | DP |  |
| Unit-I |  |  |  |  |  |  |  |
| 1st | 1 | Introduction to AC machines |  |  |  |  |  |
|  | 2 | Induction machines: Constructional features |  |  |  |  |  |
|  | 3 | Production of torque and phasor diagram |  |  |  |  |  |
|  | 4 | Equivalent circuit and performance analysis |  |  |  |  |  |
| 2nd | 5 | Torque-slip characteristics |  |  |  |  |  |
|  | 6 | Testing running light and blocked rotor test |  |  |  |  |  |
|  | 7 | Load test & effect of rotor resistance |  |  |  |  |  |
|  | 8 | Deep bar and double cage induction motor |  |  |  |  |  |
| 3rd | 9 | Starting method of squirrel cage and wound rotor induction motor |  |  |  |  |  |
|  | 10 | Various methods of speed control of squirrel cage and wound rotor induction motor |  |  |  |  |  |
|  | 11 | Effect of space harmonics |  |  |  |  |  |
|  | 12 | Generator operation |  |  |  |  |  |
| Unit-II |  |  |  |  |  |  |  |
| 4th | 13 | Introduction to single phase induction motors |  |  |  |  |  |
|  | 14 | Constructional features |  |  |  |  |  |
|  | 15 | Double revolving field theory |  |  |  |  |  |
|  | 16 | Equivalent circuit and determination of parameters |  |  |  |  |  |
| 5th | 17 | Split phase starting methods & applications |  |  |  |  |  |
|  | 18 | Introduction to Polyphase AC Commutator machines |  |  |  |  |  |
|  | 19 | Effect of voltage injection in rotor circuit of slip ring induction motor by auxiliary commutator machines |  |  |  |  |  |
|  | 20 | Kramers arrangement |  |  |  |  |  |
| 6th | 21 | Scherbius arrangement |  |  |  |  |  |
|  | 22 | Principle & operation of doubly fed commutator motor |  |  |  |  |  |
|  | 23 | Schrage motor |  |  |  |  |  |
|  | 24 | Revision |  |  |  |  |  |
| 7th | 1st Minor Test |  |  |  |  |  |  |
| Unit-III |  |  |  |  |  |  |  |
| 8th | 25 | Introduction to synchronous generator |  |  |  |  |  |
|  | 26 | Constructional features |  |  |  |  |  |
|  | 27 | Cylindrical rotor machine |  |  |  |  |  |
|  | 28 | Generated emf, Circuit model and phasor diagram |  |  |  |  |  |
| 9th | 29 | Armature reaction, synchronous impedance |  |  |  |  |  |
|  | 30 | Voltage regulation and different methods for its estimation |  |  |  |  |  |
|  | 31 | Salient pole machine |  |  |  |  |  |
|  | 32 | Two reaction theory |  |  |  |  |  |
| 10th | 33 | Analysis of phasor diagram |  |  |  |  |  |
|  | 34 | Power angle characteristics |  |  |  |  |  |
|  | 35 | Determination of Xd |  |  |  |  |  |
|  | 36 | Determination of Xq |  |  |  |  |  |
| Unit-IV |  |  |  |  |  |  |  |
| 11th | 37 | Need of parallel operation |  |  |  |  |  |
|  | 38 | Parallel operation of alternators |  |  |  |  |  |
|  | 39 | Synchronization |  |  |  |  |  |
|  | 40 | Load division |  |  |  |  |  |
| 12th | 41 | Introduction to Synchronous motors |  |  |  |  |  |
|  | 42 | Operating principle |  |  |  |  |  |
|  | 43 | Working |  |  |  |  |  |
|  | 44 | Circuit model |  |  |  |  |  |
| 13th | 45 | Phasor diagram |  |  |  |  |  |
|  | 46 | Effect of load |  |  |  |  |  |
|  | 47 | Operating characteristics |  |  |  |  |  |
|  | 48 | V-curves |  |  |  |  |  |
| 14th | 2nd Minor test |  |  |  |  |  |  |
| 15th | 49 | Inverted V-curves |  |  |  |  |  |
|  | 50 | Starting methods |  |  |  |  |  |
|  | 51 | Applications |  |  |  |  |  |
|  | 52 | Revision |  |  |  |  |  |

Lesson Plan

Name of faculty		:	Er. Ruby Sathiala

Discipline		:	Electrical Engineering

Semester		:	4th

Subject			:	Electrical Machines-II Lab (EE-210-P)

| Week | Practical |  |  |  | Date of Actual covered | Signature |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Practical Day | Topic |  | Concerned teacher | HOD | DP |
| 1st | 1 |  | 1 | To determine the mechanical losses by light running of a three phase induction motor. |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |  |
| 2nd | 5 |  | 2 | To perform load test on a here phase induction motor & DC Generator set and determine the efficiency of induction motor. |  |  |  |  |
|  | 6 |  |  |  |  |  |  |  |
|  | 7 |  |  |  |  |  |  |  |
|  | 8 |  |  |  |  |  |  |  |
| 3rd | 9 |  | 3 | To perform light running test and blocked rotor test on a three phase induction motor and determine the parameters of the equivalent circuit. |  |  |  |  |
|  | 10 |  |  |  |  |  |  |  |
|  | 11 |  |  |  |  |  |  |  |
|  | 12 |  |  |  |  |  |  |  |
| 4th | 13 |  | 4 | To perform open circuit test and blocked rotor test on a three phase induction motor and draw the circle diagram. |  |  |  |  |
|  | 14 |  |  |  |  |  |  |  |
|  | 15 |  |  |  |  |  |  |  |
|  | 16 |  |  |  |  |  |  |  |
| 5th | 17 |  | 5 | To find out the rotor resistance of a poly phase induction motor. |  |  |  |  |
|  | 18 |  |  |  |  |  |  |  |
|  | 19 |  |  |  |  |  |  |  |
|  | 20 |  |  |  |  |  |  |  |
| 6th | 21 |  | 6 | 1st Internal viva |  |  |  |  |
|  | 22 |  |  |  |  |  |  |  |
|  | 23 |  |  |  |  |  |  |  |
|  | 24 |  |  |  |  |  |  |  |
| 7th | 1st Minor Test |  |  |  |  |  |  |  |
| 8th | 25 |  | 7 | To calculate regulation of alternator by synchronous impedance method: - Conduct open and short circuit test on a three phase alternator. - Determine and plot variation of synchronous impedance with If. - Determine S.C.R. - Determine regulations for 0.8 lagging power factor, 0.8 leading power factor and unity power factor. |  |  |  |  |
|  | 26 |  |  |  |  |  |  |  |
|  | 27 |  |  |  |  |  |  |  |
|  | 28 |  |  |  |  |  |  |  |
| 9th | 29 |  | 8 | To plot V-curves of a synchronous machine - Determination of Xo of a synchronous machine. - Measurement Xd’ +Xq’. |  |  |  |  |
|  | 30 |  |  |  |  |  |  |  |
|  | 31 |  |  |  |  |  |  |  |
|  | 32 |  |  |  |  |  |  |  |
| 10th | 33 |  | 9 | To measure Xq of synchronous machine. |  |  |  |  |
|  | 34 |  |  |  |  |  |  |  |
|  | 35 |  |  |  |  |  |  |  |
|  | 36 |  |  |  |  |  |  |  |
| 11th | 37 |  | 10 | To calculate regulation by ZPF method. |  |  |  |  |
|  | 38 |  |  |  |  |  |  |  |
|  | 39 |  |  |  |  |  |  |  |
|  | 40 |  |  |  |  |  |  |  |
| 12th | 41 |  | 11 | To conduct load test to determine performance characteristics of the induction motor. |  |  |  |  |
|  | 42 |  |  |  |  |  |  |  |
|  | 43 |  |  |  |  |  |  |  |
|  | 44 |  |  |  |  |  |  |  |
| 13th | 45 |  | 12 | To study the parallel operation of synchronous generator. |  |  |  |  |
|  | 46 |  |  |  |  |  |  |  |
|  | 47 |  |  |  |  |  |  |  |
|  | 48 |  |  |  |  |  |  |  |
| 14th | 2nd Minor test |  |  |  |  |  |  |  |
| 15th | 49 |  | 13 | 2nd Internal viva |  |  |  |  |
|  | 50 |  |  |  |  |  |  |  |
|  | 51 |  |  |  |  |  |  |  |
|  | 52 |  |  |  |  |  |  |  |