Lesson Plan

Name of faculty	:            Sita Devi

Discipline		:	Electrical Engineering

Semester		:            4th

Subject			:            Transmission and distribution

Lesson plan duration	:	15 weeks

| Week | Theory |  |
| --- | --- | --- |
|  | Lecture Day | Topic (Including assignment / Test) |
| Unit-I |  |  |
| 1st | 1 | Importance of electric power |
|  | 2 | Power system components |
|  | 3 | Growth of power systems in india |
|  | 4 | Power supply network |
| 2nd | 5 | Single line diagram of a typical power system |
|  | 6 | Effect of voltage on conductor size |
|  | 7 | Effect of increase in voltage on the transmission line efficiency |
|  | 8 | Numerical on transmission efficiency |
| 3rd | 9 | Comparison of conductor vol |
|  | 10 | In typical supply system elementary high voltage DC transmission |
|  | 11 | DC transmission and its advantages and disadvantages |
|  | 12 | Comparison between AC and DC transmission system |
| Unit-II |  |  |
| 4th | 13 | Introduction to line parameter |
|  | 14 | Evaluation of inductance, capacitance for single phase |
|  | 15 | Evaluation of resistance for single phase |
|  | 16 | Three phase symmetrical parameters |
| 5th | 17 | Three phase unsymmetrical parameters |
|  | 18 | Transposed, untransposed single circuit |
|  | 19 | Double circuit lines, skin and proximity effect |
|  | 20 | Classification of line as short, medium and long |
| 6th | 21 | Representation and detailed performance analysis of these lines including abcd parameters |
|  | 22 | Numerical on abcd parameters |
|  | 23 | Detailed measurements and universal power circle diagram |
|  | 24 | Numerical based on above topic |
| 7th | 1st Minor Test |  |
| Unit-III |  |  |
| 8th | 25 | Various types of line conductors |
|  | 26 | Line supports, poles and towers |
|  | 27 | Sag calculations |
|  | 28 | Effect of wind, ice and temperature |
| 9th | 29 | Stringing chart, sag template, line vibrations |
|  | 30 | Introduction to insulators |
|  | 31 | Types of insulator |
|  | 32 | Voltage distribution, string efficiency |
| 10th | 33 | Methods of increasing string efficiency |
|  | 34 | Phenomenon of corona |
|  | 35 | Disruptive critical voltage, Visual critical voltage |
|  | 36 | Corona loss, radio interference |
| Unit-IV |  |  |
| 11th | 37 | Introduction to underground cables |
|  | 38 | Classification and construction of underground cables |
|  | 39 | Insulation resistance |
|  | 40 | Capacitance, Capacitance determination |
| 12th | 41 | Assignment On under ground cable |
|  | 42 | Power factor in cable |
|  | 43 | Capacitance grading |
|  | 44 | Various method of grading |
| 13th | 45 | Use of inter sheath , losses |
|  | 46 | Heat dissipation and temperature rise in cable |
|  | 47 | Current rating |
|  | 48 | Numerical problem |
| 14th | 2nd Minor test |  |
| 15th | 49 | Discussion on 2nd minor test |
|  | 50 | Comparison with overhead line |
|  | 51 | Advantage and disadvantage of underground cable |
|  | 52 | Various factor to be considered for selecting a cable |

Sita Devi

Guest faculty In Electrical Engg.