Lesson Plan

Name of faculty	:          Mr. Surender

Discipline		:          Electrical Engineering

Semester		:          4th

Subject			:          Power System-1 Lab (EE-204P)

Lesson plan duration	:          15 weeks

| Week | Practical |  |
| --- | --- | --- |
|  | Practical Day | Topic |
| 1st | 1 | To measure the dielectric strength of transformer oil. |
| 2nd | 2 | To find string efficiency of string insulator. - Without guard ring. - With guard ring |
| 3rd | 3 | To measure ABCD parameters of transmission line. |
| 4th | 4 | To plot power angle characteristics of transmission line. |
| 5th | 5 | Parallel operation of two alternator. |
| 6th | 6 | To create unbalanced voltage system and to measure the sequence voltage by Segregating network. |
| 7th | Minor Test |  |
| 8th | 7 | Viva-Voice 1st |
| 9th | 8 | To study the characteristics of differential relay. |
| 10th | 9 | Testing and calibration of energy meter. |
| 11th | 10 | To study the characteristics of transmission line represented by : - T-Network : - Pie-Network |
| 12th | 11 | To plot the characteristics of IDMT static relay. |
| 13th | 12 | Testing of current transformer. |
| 14th | Minor Test |  |
| 15th | 13 | Viva-Voice – 2nd. |

Surender Chahal

Guest Faculty (Electrical Engg.)