Lesson Plan

Name of faculty	:	Er. Puneet Chawla

Discipline		:	Electrical Engineering

Semester		:	8th

Subject			:	Computer Methods in Power System (ET-402E)

| Week | Theory |  | Date of Actual covered | Signatures |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Lecture Day | Topic (Including assignment / Test) |  | Concerned teacher |  |  | HOD | DP |  |
| Unit-I |  |  |  |  |  |  |  |  |  |
| 1st | 1 | Introduction to CMPS |  |  |  |  |  |  |  |
|  | 2 | General : Impact of computers |  |  |  |  |  |  |  |
|  | 3 | Orientation of engineering problems to computers |  |  |  |  |  |  |  |
|  | 4 | Review of matrices and matrix operations |  |  |  |  |  |  |  |
| 2nd | 5 | Incidence and Network Matrices: Network graph |  |  |  |  |  |  |  |
|  | 6 | Various incidence matrices |  |  |  |  |  |  |  |
|  | 7 | Numerical problems |  |  |  |  |  |  |  |
|  | 8 | Generalized element representation |  |  |  |  |  |  |  |
| 3rd | 9 | Primitive network and primitive network matrices |  |  |  |  |  |  |  |
|  | 10 | Formation of various network matrices by singular transformations |  |  |  |  |  |  |  |
|  | 11 | Inter-relations between various incidence matrices and network matrices |  |  |  |  |  |  |  |
|  | 12 | Numerical problems |  |  |  |  |  |  |  |
| Unit-II |  |  |  |  |  |  |  |  |  |
| 4th | 13 | Bus Impedance matrix: Building algorithm for bus impedance matrix |  |  |  |  |  |  |  |
|  | 14 | Modification of bus impedance matrix for change of reference bus and for network changes |  |  |  |  |  |  |  |
|  | 15 | Formation of bus admittance matrix and modification |  |  |  |  |  |  |  |
|  | 16 | Numerical problems |  |  |  |  |  |  |  |
| 5th | 17 | Calculation of Z bus elements for Y Bus |  |  |  |  |  |  |  |
|  | 18 | Three-phase Elements: Representation of three-phase network elements |  |  |  |  |  |  |  |
|  | 19 | 1st Assignment |  |  |  |  |  |  |  |
|  | 20 | Treatment under balanced excitation |  |  |  |  |  |  |  |
| 6th | 21 | Treatment under unbalanced excitation |  |  |  |  |  |  |  |
|  | 22 | Transformation matrices |  |  |  |  |  |  |  |
|  | 23 | Numerical problems |  |  |  |  |  |  |  |
|  | 24 | Unbalanced elements |  |  |  |  |  |  |  |
| 7th | 1st Minor Test |  |  |  |  |  |  |  |  |
| Unit-III |  |  |  |  |  |  |  |  |  |
| 8th | 25 | Short-Circuit Studies : Introduction |  |  |  |  |  |  |  |
|  | 26 | Network short-circuit studies using Z bus |  |  |  |  |  |  |  |
|  | 27 | Short-circuit calculations using symmetrical components for various types of faults |  |  |  |  |  |  |  |
|  | 28 | Load-Flow Studies : Introduction |  |  |  |  |  |  |  |
| 9th | 29 | Importance of load flow studies |  |  |  |  |  |  |  |
|  | 30 | Classification of buses, Load-flow equations |  |  |  |  |  |  |  |
|  | 31 | Iterative methods: Computer algorithm and load flow solutions using Gauss Seidel method |  |  |  |  |  |  |  |
|  | 32 | Computer algorithm and load flow solutions using Newton-Raphson method |  |  |  |  |  |  |  |
| 10th | 33 | Decoupled and fast decoupled load-flow solutions |  |  |  |  |  |  |  |
|  | 34 | Representation of regulating and off-nominal ratio transformers |  |  |  |  |  |  |  |
|  | 35 | Comparison of load-flow solution methods |  |  |  |  |  |  |  |
|  | 36 | Numerical problems |  |  |  |  |  |  |  |
| Unit-IV |  |  |  |  |  |  |  |  |  |
| 11th | 37 | Sparsity: Introduction |  |  |  |  |  |  |  |
|  | 38 | Optimally ordered triangular factorization |  |  |  |  |  |  |  |
|  | 39 | Schemes of optimal ordering |  |  |  |  |  |  |  |
|  | 40 | Numerical problems |  |  |  |  |  |  |  |
| 12th | 41 | Stability Studies: Introduction |  |  |  |  |  |  |  |
|  | 42 | Algorithmic flow chart |  |  |  |  |  |  |  |
|  | 43 | Transient stability solution using Modified Euler method |  |  |  |  |  |  |  |
|  | 44 | 2nd Assignment |  |  |  |  |  |  |  |
| 13th | 45 | Numerical problems |  |  |  |  |  |  |  |
|  | 46 |  |  |  |  |  |  |  |  |
|  | 47 | Power System Security: Introduction |  |  |  |  |  |  |  |
|  | 48 | Contingency analysis using Z Bus and various distribution factors |  |  |  |  |  |  |  |
| 14th | 2nd Minor test |  |  |  |  |  |  |  |  |
| 15th | 49 | Revision |  |  |  |  |  |  |  |
|  | 50 | Revision |  |  |  |  |  |  |  |
|  | 51 | Old university papers discussions |  |  |  |  |  |  |  |
|  | 52 | Old university papers discussions |  |  |  |  |  |  |  |